## 0 Celsius degree
Thermometers comparison form
Name
Country
1. Electric thermometer |  |  |  | Serial No. A
Calibration Point | No. | Time of Reading | Calibrated thermometer
|  |  | The value of reading | Average (→Index error)
[°C] |  | hh:mm | [°C] | [°C]
0 | 1
0 | 2
2. Liquid-in-glass thermometer |  |  |  | Serial No. 1
Calibration Point | No. | Time of Reading | Calibrated thermometer
|  |  | The value of reading | Average (→Index error)
[°C] |  | hh:mm | [°C] | [°C]
0 | 1
0 | 2
3. Liquid-in-glass thermometer |  |  |  | Serial No.2
Calibration Point | No. | Time of Reading | Calibrated thermometer
|  |  | The value of reading | Average (→Index error)
[°C] |  | hh:mm | [°C] | [°C]
0 | 1
0 | 2
4. Liquid-in-glass thermometer |  |  |  | Serial No.3
Calibration Point | No. | Time of Reading | Calibrated thermometer
|  |  | The value of reading | Average (→Index error)
[°C] |  | hh:mm | [°C] | [°C]
0 | 1
0 | 2
Example
Calibration Point | No. | Time of Reading | Calibrated thermometer
|  |  | The value of reading | Average (→Index error)
[°C] |  | hh:mm | [°C] | [°C]
0 | 1 | 10:10 | 0.01 | 0.02
0 | 2 | 10:20 | 0.03
(0.01+0.03)/2 = 0.02

## 30 Celsius degree
Thermometers comparison form
Name
Country
1.Electric thermometer |  |  |  | Serial No. A
Calibration Point | No. | Time of Reading | Calibrated thermometer | Working standard |  |  | Index error
|  |  | The value of reading[A] | The value of reading | Correction | Corrected value[B] | [A]-[B] | Average
[°C] |  | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C]
30 | 1
30 | 2
2.Liquid-in-glass thermometer |  |  |  | Serial No. 1
Calibration Point | No. | Time of Reading | Calibrated thermometer | Working standard |  |  | Index error
|  |  | The value of reading[A] | The value of reading | Correction | Corrected value[B] | [A]-[B] | Average
[°C] |  | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C]
30 | 1
30 | 2
3.Liquid-in-glass thermometer |  |  |  | Serial No.2
Calibration Point | No. | Time of Reading | Calibrated thermometer | Working standard |  |  | Index error
|  |  | The value of reading[A] | The value of reading | Correction | Corrected value[B] | [A]-[B] | Average
[°C] |  | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C]
30 | 1
30 | 2
4.Liquid-in-glass thermometer |  |  |  | Serial No.3
Calibration Point | No. | Time of Reading | Calibrated thermometer | Working standard |  |  | Index error
|  |  | The value of reading[A] | The value of reading | Correction | Corrected value[B] | [A]-[B] | Average
[°C] |  | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C]
30 | 1
30 | 2
Example
Calibration Point | No. | Time of Reading | Calibrated thermometer | Working standard |  |  | Index error
|  |  | The value of reading[A] | The value of reading | Correction | Corrected value[B] | [A]-[B] | Average
[°C] |  | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C]
30 | 1 | 10:30 | 30.05 | 29.96 | 0.06 | 30.02 | 0.03 | 0.02
30 | 2 | 10:40 | 30.06 | 29.99 | 0.06 | 30.05 | 0.01
Working standard<liquid chamber>
|  |  | Temperature | Correction
|  |  | [°C] | [°C]
50
40
30
20
10
0
The correction value should be added to the original reading value.
29.99+0.06 =30.05
30.06-30.05 =0.01
(0.03+0.01)/2 =0.02