## Calibration_sheet(Example)
The calibration sheet of Mercury barometer (JICA Training in MIC)
| Barometer to be calibrated | [6 empty] | Serial number of standard barometer ： Z06***
Manufacturer's name ： K.S.F Tokyo
Serial number ： K11****
Date of manufacture ： May/1975
Number of times | Month Day | Hour, minute | Temperature reading of thermometer | Tendency of atmospheric pressure | standard barometer |  |  | Barometer to be calibrated (Mercury barometer) |  |  |  | Index errer
[5 empty] | Reading | Correction value | Pressure value | Reading | Temperature correction value | Gravity correction value | Pressure value
1 | 2012-10-21 | 9:10 | 23.9 | 0 | 1015.2 | -0.01 | 1015.19 | 1020 | -3.9661 | -0.74472 | 1015.2891 | 0.099149
2 | 2013-11-26 | 8:46 | 20.7 | 0 | 1001.26 | -0.16 | 1001.1 | 1005.58 | -3.3885 | -0.73419 | 1001.4573 | 0.35731
3 | 2013-11-26 | 11:40 | 21 | 0 | 1001.3 | -0.16 | 1001.14 | 1005.45 | -3.437 | -0.7341 | 1001.2789 | 0.13892
4 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
5 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
6 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
7 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
8 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
9 | 2013-11-26 | [5 empty] | 0 |  | 0 | 0 | 0 | 0
10 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
11 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
12 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
13 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
14 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
15 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
16 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
17 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
18 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
19 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
20 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
[10 empty] | Average |  | 0.029769
[10 empty] | Standard deviation |  | 0.085555
| Correction value |  |  | -0.029769 |  | hPa |  |  |  | Maximum value |  | 0.35731
[10 empty] | Minimum value |  | 0
[10 empty] | Very difference |  | 0.35731

## Mercury barometer at atmosphere
The calibration sheet of Mercury barometer (JICA Training in MIC)
| Barometer to be calibrated | [6 empty] | Serial number of standard barometer ：
| Manufacturer's name ： K.S.F Tokyo | [6 empty] | The Date of Calibration: 10-Nov-15
Serial number ： K9340
Date of manufacture ： Dec/1965
Number of times members | Month Day Name | Hour, minute | Temperature reading of thermometer | Tendency of atmospheric pressure | standard barometer |  |  | Barometer to be calibrated (Mercury barometer) |  |  |  | Index errer
[5 empty] | Reading | Correction value | Pressure value | Reading | Temperature correction value | Gravity correction value | Pressure value
1 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
2 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
3 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
4 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
5 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
6 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
7 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
8 |  |  |  | No need |  |  | 0 |  | 0 | 0 | 0 | 0
9 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
10 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
11 | Example |  | 21 |  | 1014.3 | -0.14 | 1014.16 | 1018.5 | -3.4816 | -0.74362 | 1014.2748 | 0.11479
12 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
13 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
14 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
15 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
16 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
17 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
18 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
19 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
20 | [6 empty] | 0 |  | 0 | 0 | 0 | 0
[10 empty] | Average |  | 0
[10 empty] | Standard deviation |  | 0.025667
| Correction value |  |  | 0 |  | hPa |  |  |  | Maximum value |  | 0.11479
[10 empty] | Minimum value |  | 0
[10 empty] | Very difference |  | 0.11479

## Digital barometer in lavoratory
The calibration sheet of Digital barometer (JICA Training in MIC)
Barometer to be calibrated | [5 empty] | The date of calibration : 10-Nov-15
Manufacturer's name : VAISALA | [5 empty] | Room Temperature :
Serial number : | [5 empty] | Serial number of standard barometer :
Date of manufacture : Apl/2007
Measurement range : 960 - 1000hPa | [6 empty] | Unit: ｈＰａ
Calibration point | Standard barometer |  |  | Reading of barometer to be calibrated | Difference between standard barometer and calibrated barometer at each calibration point | Average of difference between standard barometer and calibrated barometer at each calibration point (3 times) | Differnce Between adjacent calibration points | Index errer | Hysteresis error
| Reading | Correction value | Pressure value
|  |  | (A) | (B) | (C)=(B)-(A) | (C)/3 |  | (D)
1040 |  |  | 0 |  | 0 | (1) |  | ((1)+(10))/2 | 0
|  |  | 0 |  | 0 | 0 |  | 0
|  |  | 0 |  | 0 |  | 0
1000 |  |  | 0 |  | 0 | (2) |  | ((2)+(9))/2 | 0
|  |  | 0 |  | 0 | 0 |  | 0
|  |  | 0 |  | 0 |  | 0
960 |  |  | 0 |  | 0 | (3) |  | ((3)+(8))/2 | 0
|  |  | 0 |  | 0 | 0 |  | 0
|  |  | 0 |  | 0 |  | 0
920 |  |  | 0 |  | 0 | (4) |  | ((4)+(7))/2 | 0
|  |  | 0 |  | 0 | 0 |  | 0
|  |  | 0 |  | 0 |  | 0
880 |  |  | 0 |  | 0 | (5) |  | ((5)+(6))/2 | 0
|  |  | 0 |  | 0 | 0 |  | 0
|  |  | 0 |  | 0 |  | 0
880 |  |  | 0 |  | 0 | (6)
|  |  | 0 |  | 0 | 0
|  |  | 0 |  | 0 |  | 0
920 |  |  | 0 |  | 0 | (7)
|  |  | 0 |  | 0 | 0
|  |  | 0 |  | 0 |  | 0
960 |  |  | 0 |  | 0 | (8)
|  |  | 0 |  | 0 | 0
|  |  | 0 |  | 0 |  | 0
1000 |  |  | 0 |  | 0 | (9)
|  |  | 0 |  | 0 | 0
|  |  | 0 |  | 0 |  | 0
1040 |  |  | 0 |  | 0 | (10)
|  |  | 0 |  | 0 | 0
|  |  | 0 |  | 0
Correction value |  | 880 | 920 | 960 | 1000 | 1040
|  | 0 | 0 | 0 | 0 | 0