## 20151110(result)
Hygrometer commparison result
|  | date | 2015-11-10 |  | Chamber:not use
|  |  | Aspirated psychrometer | [10 empty] | Electronic hygrometer
|  |  | Wet Bulb |  |  | Dry Bulb |  |  | T-Tw | Atmospheric pressure |  |  | Relative humidity※ [A]
No. |  | The time of reading | Reading | correction | corrected value(Tw) | Reading | correction | corrected value(T） |  | Reading | correction | corrected value |  | Reading ［B］ | index error [B-A]
| Name | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [hPa] | [%RH] | [%RH] | [%RH]
| (Example) | 11:00 | 13.8 | -0.2 | 13.6 | 21.8 | -0.2 | 21.6 | 8 | 1013.68 | 0.06 | 1013.74 | 39.6522 | 42 | 2.3478
1 | KIRIBATI |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
2 | LAOS |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
3 | MAURITIUS |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
4 | MYANMAR |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
5 | PHILIPPINES |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
6 | SAMOA |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
7 | SRI LANKA |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
8 | TIMOR-LESTE |  |  |  | 0 |  |  | 0 | 0 |  |  | 0 | #NUM! |  | #NUM!
index error
[14 empty] | Average | #NUM!
[14 empty] | MAX | #NUM!
[14 empty] | Min | #NUM!
[14 empty] | max-min | #NUM!
※Formulae for the computation:
CIMO Guide WMO-No. 8 (2008 edition, Updated in 2010) chapter 4. MEASUREMENT OF HUMIDITY Annex 4.B
http://www.wmo.int/pages/prog/www/IMOP/CIMO-Guide.html
http://www.wmo.int/pages/prog/www/IMOP/publications/CIMO-Guide/Ed2008Up2010/Part-I/WMO8_Ed2008_PartI_Ch4_Up2010_en.pdf

## 20151110(form)
Hygrometer commparison form
|  | date | 2015-11-10 |  | Chamber:not use
|  |  | Aspirated psychrometer | [10 empty] | Electronic hygrometer
|  |  | Wet Bulb |  |  | Dry Bulb |  |  | T-Tw | Atmospheric pressure |  |  | Relative humidity※ [A]
No. |  | The time of reading | Reading | correction | corrected value(Tw) | Reading | correction | corrected value(T） |  | Reading | correction | corrected value |  | Reading ［B］ | index error [B-A]
| Name | hh:mm | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [°C] | [hPa] | [%RH] | [%RH] | [%RH]
| (Example) | 11:00 | 13.8 | -0.2 | 13.6 | 21.8 | -0.2 | 21.6 | 8 | 1013.68 | 0.06 | 1013.74 | 39.6522 | 42 | 2.3478
1 | KIRIBATI
2 | LAOS
3 | MAURITIUS
4 | MYANMAR
5 | PHILIPPINES
6 | SAMOA
7 | SRI LANKA
8 | TIMOR-LESTE